## Sample-Methods Worksheet
Sample and Age Data
General Comments on Table: | Cells in yellow are required
You may add more "Additional Analysis Purposes and Ages" as needed.
For convienience we have prepopulate values from Steiger and Jager (1977) and Spadavecchia and Hahn (1967)
Item | Value | Value Type | Units | Comment
General Information about host sample
Sample Name | 70-1 | text string
IGSN | IERMT0001 | text string
Laboratory | Geo- and Thermochronology Laboratory at University of Calgary | text string
Analyst | Kelley Fraser | text string
Mineral | Apatite | text string
Dosimeter Glass | IRMM-540R | text string |  |  | 14.9
Dosimeter Glass U ppm | 15 | numeric | ppm
Acquisition system | Zeiss Axio.Imager M2m microscope and Autoscan Systems Pty. Ltd stage | text string
Magnification | 1000x | text string
Radiation Facility | SCK-CEN, Mol, Belgium | text string
Total Thermal Neutron Fluence |  | text string
Position in Irradiation Canister (#) | 3 | numeric
Area of Graticule Square | 1e-06 | numeric | cm^2
No. of Crystals Counted | 25 | numeric
Zeta Factor | 230.45 | numeric
Zeta Factor Error (1s) | 15.75 | numeric | (1-sigma)
Rho d | 963545.4545 | numeric | cm^2
Rho d (% Relative Error) | 8470 | numeric
Geometry factor (for EDM and Zeta ICPMS methods) | 0.5 | numeric
Etchant | 5.5 M HNO3 | text string
Etching Conditions | 20 s, room temperature and pressure | text string
Decay Constant Parameters
238U Decay Constant | 1.5512e-10 | numeric | yr-1
238U Decay Constant Error |  | numeric | % 1-sigma
235U Decay Constant | 9.8485e-10 | numeric | yr-1
235U Decay Constant Error |  | numeric | % 1-sigma
232Th Decay Constant | 4.9475e-11 | numeric | yr-1
232Th Decay Constant Error |  | numeric | % 1-sigma
Spontaneous Fission Decay Constant | 8.46e-17 | numeric | yr-1
Spontaneous Fission Decay Constant Error |  | numeric | % 1-sigma
238U/235U | 137.88 | numeric | yr-1
Fission Decay Constant Reference | Spadavecchia , A. & Hahn, B. (1967). Die Rotationskammer und einige Anwendungen. Helvetica Physica Acta, 40, p. 1063-1079 | text string
Decay Constant References | Steiger, R.H. and Jager, E., 1977, Subcommission on geochronology: Convention on the use of decay constants in geo- and cosmochronology. Earth and Planetary Science Letters, v. 36, no. 3, p. 359-362 | text string
Decay Constant Comment |  | text string
Interpreted Sample Age Information
Analysis Purpose | Cooling | text string
Preferred Age Type | Pooled | text string
Pooled Age | 17.5 | numeric | Ma
Pooled Age Error +95% | 1.6 | numeric | Ma, absolute 1-sigma
Pooled Age Error -95% | 1.6 | numeric | Ma, absolute 1-sigma
Chi-squared Value | 20.5 | numeric
Degrees of Freedom | 24 | numeric
P (Chi-squred) | 66.809 | numeric | %
Mean Crystal Age | 17.8 | numeric | Ma
Mean Crystal Age Error +95% | 0.9 | numeric | Ma, absolute
Mean Crystal Age Error -95% | 0.9 | numeric | Ma, absolute
Central Age | 17.5 | numeric | Ma
Central Age Error +95% | 1.6 | numeric | Ma, absolute
Central Age Error -95% | 1.6 | numeric | Ma, absolute
Central Age - Age Dispersion (%) | 0 | numeric | %
DetritalSpectrum | Pooled
SingleAge | Central
Cooling | Mean Crystal
Crystallization | Binomial
Metamorphic | Other
Recrystallization
Inheritence
Shock
Hydrothermal
Diagenetic
TimeScaleCalibration
Other

## Age Worksheet
Grain Data
General Comments on Table: | You may add additional parameters for each grain
Added paramaters must include units
Unused columns may be deleted
Column names must remain unchanged
Grain ID | N s | N i | Dpar | Rho s | Rho i | Rho s / Rho i | Area (Ω) | Number of Etch Figures (Dpar, Dper) Measured | U ppm | Age (Ma) | Age Error +1s | Age Error -1s
Units (if needed) |  |  | µm |  |  |  | cm^2 |  | ppm
1 | 12 | 74 | 1.5351 | 200000 | 1233333.3333 | 0.16216 | 6e-05 | 5 | 19.1999 | 17.9789 | 5.7306 | 5.7306
2 | 15 | 97 | 1.6034 | 333333.3333 | 2155555.5556 | 0.15464 | 4.5e-05 | 7 | 33.5566 | 17.1459 | 4.9016 | 4.9016
3 | 10 | 58 | 1.3052 | 500000 | 2900000 | 0.17241 | 2e-05 | 5 | 45.1458 | 19.1138 | 6.6759 | 6.6759
4 | 8 | 43 | 1.6366 | 400000 | 2150000 | 0.18605 | 2e-05 | 7 | 33.4701 | 20.6227 | 8.0667 | 8.0667
5 | 18 | 80 | 1.7522 | 450000 | 2000000 | 0.225 | 4e-05 | 6 | 31.135 | 24.9322 | 6.7273 | 6.7273
6 | 26 | 131 |  | 530612.2449 | 2673469.3878 | 0.19847 | 4.9e-05 |  | 41.6193 | 21.9978 | 4.9602 | 4.9602
7 | 25 | 202 | 1.4801 | 250000 | 2020000 | 0.12376 | 0.0001 | 6 | 31.4464 | 13.726 | 3.06 | 3.06
8 | 15 | 107 | 1.5005 | 267857.1429 | 1910714.2857 | 0.14019 | 5.6e-05 | 7 | 29.7451 | 15.5454 | 4.4178 | 4.4178
9 | 17 | 95 | 1.4271 | 809523.8095 | 4523809.5238 | 0.17895 | 2.1e-05 | 6 | 70.4244 | 19.837 | 5.3998 | 5.3998
10 | 7 | 75 | 1.6112 | 175000 | 1875000 | 0.093333 | 4e-05 | 5 | 29.1891 | 10.354 | 4.1537 | 4.1537
11 | 12 | 66 | 1.5145 | 400000 | 2200000 | 0.18182 | 3e-05 | 7 | 34.2485 | 20.1547 | 6.4757 | 6.4757
12 | 15 | 75 | 1.3978 | 357142.8571 | 1785714.2857 | 0.2 | 4.2e-05 | 8 | 27.7991 | 22.1668 | 6.4531 | 6.4531
13 | 10 | 79 | 1.3111 | 322580.6452 | 2548387.0968 | 0.12658 | 3.1e-05 | 7 | 39.672 | 14.0384 | 4.8102 | 4.8102
14 | 12 | 127 |  | 266666.6667 | 2822222.2222 | 0.094488 | 4.5e-05 |  | 43.935 | 10.482 | 3.247 | 3.247
15 | 16 | 91 |  | 400000 | 2275000 | 0.17582 | 4e-05 |  | 35.4161 | 19.4913 | 5.4519 | 5.4519
16 | 21 | 138 |  | 300000 | 1971428.5714 | 0.15217 | 7e-05 |  | 30.6902 | 16.8729 | 4.1197 | 4.1197
17 | 6 | 88 | 1.5503 | 166666.6667 | 2444444.4444 | 0.068182 | 3.6e-05 | 4 | 38.0539 | 7.5654 | 3.2344 | 3.2344
18 | 13 | 56 | 1.3491 | 500000 | 2153846.1538 | 0.23214 | 2.6e-05 | 6 | 33.53 | 25.7222 | 8.1149 | 8.1149
19 | 5 | 34 |  | 333333.3333 | 2266666.6667 | 0.14706 | 1.5e-05 |  | 35.2863 | 16.3065 | 7.8907 | 7.8907
20 | 23 | 111 | 1.2814 | 328571.4286 | 1585714.2857 | 0.20721 | 7e-05 | 9 | 24.6856 | 22.9641 | 5.4939 | 5.4939
21 | 7 | 48 | 1.349 | 350000 | 2400000 | 0.14583 | 2e-05 | 7 | 37.362 | 16.1708 | 6.6367 | 6.6367
22 | 16 | 113 | 1.5184 | 326530.6122 | 2306122.449 | 0.14159 | 4.9e-05 | 6 | 35.9006 | 15.7012 | 4.3313 | 4.3313
23 | 10 | 68 |  | 250000 | 1700000 | 0.14706 | 4e-05 |  | 26.4648 | 16.3065 | 5.6359 | 5.6359
24 | 23 | 109 | 1.4709 | 460000 | 2180000 | 0.21101 | 5e-05 | 4 | 33.9372 | 23.3847 | 5.6026 | 5.6026
25 | 17 | 116 |  | 212500 | 1450000 | 0.14655 | 8e-05 |  | 22.5729 | 16.2503 | 4.3662 | 4.3662

## Length Worksheet
Track Length Data
General Comments on Table: | If track length data are entered, it is recommended that as many parameters as possible are populated
Grain ID | Length | Angle to C axis | Tint or Tincle
8 | 12.2915 | 39.9904 | TINT